## Instructions
CombCam Results Report Instructions
This tool enables the transfer of VacciCheck and ImmunoComb's results obtained by the Combcam, into printable reports.
- Using the CombCam Viewer software, download the raw data from the CombCam to your PC.
- Open the TSV (Tab separated values) file in Excel, as described in the Viewer Software Manual
- Place the cursor on the triangle next to the A1 cell and press "Copy".
- Go to “paste - RAW Data” tab (blue). Place the cursor on the triangle next to the A1 cell and press "Paste".
The “Results Report” tab will show the entire list of results by name of the patient.
The “Patient Report” tab will show a single patient report.
By clicking on the cell to the right of the "Name" cell and choosing the specific pet, the results of the specific pet will appear.
This spreadsheet allows you to modify the headers and add additional information including your clinic logo.
A titer value can be added manually under the heading "comments". For the conversion table refer to the "S-Value Titer" tab.
The entire file and reports can be printed directly or saved.
For additional assistance please contact a Biogal Representative or https://www.biogal.com/products/combcam/

## paste- RAW Data
Test ID | Test name | Lot number | Distributor/Manufacturer | Date / Time | User comments | Voltage | Temperature | Result name 1 | Result 1 | Result unit 1 | Class 1 | Result name 2 | Result 2 | Result unit 2 | Class 2 | Result name 3 | Result 3 | Result unit 3 | Class 3 | Result name 4 | Result 4 | Result unit 4 | Class 4 | Result name 5 | Result 5 | Result unit 5 | Class 5 | Result name 6 | Result 6 | Result unit 6 | Class 6 | Result name 7 | Result 7 | Result unit 7 | Class 7 | Result name 8 | Result 8 | Result unit 8 | Class 8 | Result name 9 | Result 9 | Result unit 9 | Class 9 | Result name 10 | Result 10 | Result unit 10 | Class 10 | Mean value 1 | Min value 1 | Max value 1 | Left mean 1 | Right mean 1 | Position of maximum 1 | Used pixel 1 | Center position 1 | Line width 1 | Mean value 2 | Min value 2 | Max value 2 | Left mean 2 | Right mean 2 | Position of maximum 2 | Used pixel 2 | Center position 2 | Line width 2 | Mean value 3 | Min value 3 | Max value 3 | Left mean 3 | Right mean 3 | Position of maximum 3 | Used pixel 3 | Center position 3 | Line width 3 | Mean value 4 | Min value 4 | Max value 4 | Left mean 4 | Right mean 4 | Position of maximum 4 | Used pixel 4 | Center position 4 | Line width 4 | Mean value 5 | Min value 5 | Max value 5 | Left mean 5 | Right mean 5 | Position of maximum 5 | Used pixel 5 | Center position 5 | Line width 5 | Mean value 6 | Min value 6 | Max value 6 | Left mean 6 | Right mean 6 | Position of maximum 6 | Used pixel 6 | Center position 6 | Line width 6 | Mean value 7 | Min value 7 | Max value 7 | Left mean 7 | Right mean 7 | Position of maximum 7 | Used pixel 7 | Center position 7 | Line width 7 | Mean value 8 | Min value 8 | Max value 8 | Left mean 8 | Right mean 8 | Position of maximum 8 | Used pixel 8 | Center position 8 | Line width 8 | Mean value 9 | Min value 9 | Max value 9 | Left mean 9 | Right mean 9 | Position of maximum 9 | Used pixel 9 | Center position 9 | Line width 9 | Mean value 10 | Min value 10 | Max value 10 | Left mean 10 | Right mean 10 | Position of maximum 10 | Used pixel 10 | Center position 10 | Line width 10 | Image data
1582 67 1 14 2819 0008 386807566 | CVV |  | Biogal | 03/23/2018 14:55:14 | Sample 1 | 10655 | 21.05 | Valid - CAV |  |  | 0 | Valid - CPV |  |  | 0 | Valid - CDV |  |  | 0
1582 67 1 14 2819 0008 386807581 | CVV |  | Biogal | 03/23/2018 14:55:29 | Sample 2 | 10644 | 21.41 | Valid - CAV |  |  | 5 | Valid - CPV |  |  | 4 | Valid - CDV |  |  | 3

## Patient Report
Address
Phone
E-mail
Results Report
Owner
Address
Name | Sample 1 | D. of B./Age |  | Sex | F / M S / C
Breed |  | Weight |  | Other
CVV | VacciCheck Canine
| Disease | S-Value | Comments
| Valid - CAV | 0
| Valid - CPV | 0
| Valid - CDV | 0
Date of test |  |  | DD/MM/YYYY
Next planned date |  |  | DD/MM/YYYY
Attach Sticker |  |  |  | Stamp of the hospital/Lab/Clinic
Add your
Logo

## Results Report
Name of the Pet | Tests Name | Agent 1 | Score 1 | Agent 2 | Score 2 | Agent 3 | Score 3 | Comments
Sample 1 | CVV | Valid - CAV | 0 | Valid - CPV | 0 | Valid - CDV | 0
Sample 2 | CVV | Valid - CAV | 5 | Valid - CPV | 4 | Valid - CDV | 3
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## S-Value Titer
S- Value Convert to titer
Tests Name | Description of the tests | Diseases Agent | 0 | 1 | 2 | 3 | 4 | 5 | 6
CVV | VacciCheck Canine | CAV | NEG | NEG | V.N.1:8 | V.N.1:16 | V.N.1:32 | V.N.1:64 | V.N.≥1:128
|  | CPV | NEG | NEG | H.I. 1:40 | H.I. 1:80 | H.I. 1:160 | H.I. 1:320 | H.I. ≥1:640
|  | CDV | NEG | NEG | V.N.1:16 | V.N.1:32 | V.N.1:64 | V.N.≥1:128 | V.N.≥1:256
FVV | VacciCheck Feline | FPLV | NEG | Neg | H.I. 1:40 | H.I. 1:80 | H.I. 1:160 | H.I. 1:320 | H.I. ≥1:640
|  | FHV | NEG | Neg | V.N.1:8 | V.N.1:16 | V.N.1:32 | V.N.1:64 | V.N.≥1:128
|  | FCV | NEG | Neg | V.N.1:16 | V.N.1:32 | V.N.1:64 | V.N.≥1:128 | V.N.≥1:256
FTC | ImmunoComb Feline Toxo& Chlamydia | TOXO | NEG | Neg | I.F 1:16 | I.F 1:32 | I.F 1:64 | I.F 1:128 | I.F≥ 256
|  | CHLAM | NEG | Neg | C.F 1:16 | C.F 1:32 | C.F 1:64 | CF 1:128 | C.F≥ 256
CPD | ImmunoComb Parvo & Distemper IgM | CPV | NEG | I.F ≤1:10 Inconclusive | I.F 1:50 | I.F 1:250 | I.F 1:1250 | I.F 1:6250 | I.F > 1:6250
|  | CDV | NEG | I.F ≤1:10 Inconclusive | I.F 1:50 | I.F 1:250 | I.F 1:1250 | I.F 1:6250 | I.F > 1:6250
CEH | ImmunoComb Canine Ehrlichia | CEH | NEG | I.F ≤1:20 | I.F 1:40 | I.F 1:80 | I.F 1:160 | I.F 1:320 | I.F 1:640
CLC | ImmunoComb Canine Leptospira | CLC | NEG | M.A.T <1:100 | M.A.T 1:200 | M.A.T 1400 | M.A.T 1:800 | M.A.T 1:1600 | M.A.T 1:3200
FCOV | ImmunoComb Feline Coronavirus | FCoV (FIP) | NEG | I.F <1:10 | I.F 1:10 | I.F 1:20 | I.F 1:20-80 | I.F 1:160-320 | I.F >1:320
CBC | ImmunoComb Canine Brucella | CBR | NEG | I.F 1:50 | I.F 1:100 | I.F 1:200 | I.F 1:400 | I.F 1:800 | I.F ≥1:1600
FPLV | VacciCheck Panleukopenia | FPLV | NEG | Neg | H.I. 1:40 | H.I. 1:80 | H.I. 1:160 | H.I. 1:320 | H.I. ≥1:640